Here is the corrected version with proper grammar, spelling, and straightforward language:

- Open the 'OptiEnvelope' application code in VSCode, IDLE Python, or any other program.

- Load the transmittance spectra file (txt, csv, or Excel). The spectrum will appear in the main graph window. two columns (wavelength in nm, transmittance in fractional or percentage form), organized as columns (not rows), with or without a header row.

- By default, the refractive index value is 1.48. You can change this if your substrate refractive index is different.

- Check if the spectrum has at least one fringe (one Tmax and one Tmin). If yes, use the 'Envelope method'. If there are no fringes, use the 'Simple analysis method'.

- To create the upper and lower envelopes, click the 'Upper Envelope' and 'Lower Envelope' buttons. Check the status box to confirm the buttons are active.

- First, add Tmax points along the upper part of each fringe peak.

- Then, add Tmin points along the lower part of each fringe valley.

- You can zoom in on the spectrum for better visibility. Note: First click selects the button, second click deselects the button.

- Add or drag the Tmax or Tmin points to their correct positions to create a smooth envelope curve.

- Important: Create a smooth curve by adding more Tmax and Tmin points where the spectrum enters the strong absorption region.

- Click the 'Interpolate' button to create smooth upper and lower envelopes.

- Note: You can add or remove points at any time, in zoom or zoom out mode, to create smooth envelope curves.

- After creating smooth envelopes, you can auto-select Tmax and Tmin points to estimate the initial thickness. You can also add Tmax and Tmin points manually if needed.

- Once the Tmax (peaks) and Tmin (valleys) are set, you can simulate the spectrum. Multiple clicks will enable a smooth simulated spectrum. The fit quality factor will appear in the status box.

- By default, the thickness value is 100 nm. The final thickness value will automatically appear in the thickness tab.

- You can manually generate a simulated spectrum for a desired thickness by entering the value in the thickness box and running the simulation.

- Once the simulation is complete, all extractable parameters will appear in their respective graphical windows. You can view them by selecting the appropriate tabs.

- For the 'Simple analysis method' (fringe-less transmittance spectra), the envelope section will not appear in the left panel. Only a thickness entry box will appear in the right panel.

- Enter the known thickness of the film and press the 'Calculate' button. The desired extractable parameters will automatically appear in the respective graph windows.

- Note: For simple analysis (fringe-less transmittance spectra), only alpha and alpha-derived parameters will be displayed.

- You can export all derived parameters by clicking the 'Export' button and selecting a destination folder.

- The exported parameters appear in this order: Lambda_nm, Transmittance, T_Lower_Envelope, T_Simulated, T_Interference_Free, n, k, Epsilon1, Epsilon2, Sigma (S/cm), Delta, Tan delta, Optical Density, Skin depth (nm), Energy (eV), Alpha, Alpha.E, (Alpha.E)^2, (Alpha.E)^0.5, derivative of alpha, and log of alpha.

- The 'Clear all' button will clear all envelopes and extracted parameters, but will keep the imported raw data.